## Pricing Catalogue
Pricing Catalogue | Granny Flats
ID (*) | ITEM GROUP (*) | ITEM SUB GROUP (*) | MODEL CODE | ITEM NAME \ SHORT DESCRIPTION (*) | ITEM FULL DESCRIPTION (*) | BRAND | UOM (*) | PRICE (*) | QUOTE SECTION | QUOTE SUBSECTION
1 | PLANNING & APPROVALS | Preliminary Assesment |  | (custom) Sketch Plan Request \ Preliminary Standard Assesment | Includes Custom Design, Floor, Site & Elevation Plans (inc 3ds) and Preliminary Survey Levels |  | Ea | 580 | Stage 1 - Design
2 | PLANNING & APPROVALS | Preliminary Assesment |  | (standard) Sketch Plan Request \ Preliminary Standard Assesment | Includes, Floor, Site & Elevation Plans (inc 3ds) and Preliminary Survey Levels |  | Each | 550 | Stage 1 - Design
3 | PLANNING & APPROVALS | Preliminary Assesment |  | 149 (2 & 5) Certificate & Related Searches | Includes, Sewer diagram (Sydney Water), Title document and DP \ Caveat & Easement Documents. (findings may affect the design, specification and cost of this tender). |  | EA | 280 | Stage 1 - Design
4 | OPTIONAL UPGRADES | Kitchen & Joinery |  | 2 colour cabinetry | Contract inclusion allows for one colour. Here you can select two colours (top is one colour and bottom cabinetry is another), NOTE: The cabinetry above the fridge will be the under bench cabinetry colour |  | ea | 290 | Stage 3 - Construction
5 | OPTIONAL UPGRADES | Misc |  | 2000L Rain Water Tank | Slimline Water Tank includes BIANCO INOX 60PC with Rain Saver III Home & Garden Pump. Includes concrete pad (approx, 900x3800, brushed finish) and all associated plumbing works including roughing in to separate grey water connection to laundry, and plumbing back to toilet flush. | BIANCO | EA | 3250 | Stage 3 - Construction
6 | PLUMBING | Plumbing - Variations |  | 3000L Rain Water Tank | Slimline Water Tank includes BIANCO INOX 60PC with Rain Saver III Home & Garden Pump. Includes concrete pad (approx, 900x3800, brushed finish) and all associated plumbing works including roughing in to separate grey water connection to laundry, and plumbing back to toilet flush. | BIANCO | EA | 6000 | Stage 3 - Construction
7 | OPTIONAL UPGRADES | Misc |  | 4000L Rain Water Tank | Slimline Water Tank includes BIANCO INOX 60PC with Rain Saver III Home & Garden Pump. Includes concrete pad (approx, 900x3800, brushed finish) and all associated plumbing works including roughing in to separate grey water connection to laundry, and plumbing back to toilet flush. | BIANCO | EA | 7600 | Stage 3 - Construction
8 | OPTIONAL UPGRADES | Misc |  | 5000L Rain Water Tank | Slimline Water Tank includes BIANCO INOX 60PC with Rain Saver III Home & Garden Pump. Includes concrete pad (approx, 900x3800, brushed finish) and all associated plumbing works including roughing in to separate grey water connection to laundry, and plumbing back to toilet flush. | BIANCO | EA | 5200 | Stage 3 - Construction
9 | PLANNING & APPROVALS | Preliminary Assesment |  | Acoustic Report (CDC) | Noise assessment, acoustical design for noise control and noise compliance certification. (Excludes any additional works required to meet compliance). |  | EA | 2500 | Stage 1 - Design
10 | WINDOWS | Additional Windows |  | Additional Hollow Core Hinged Door | Standard Hollow core timber door of builders range, 720/820 mm wide- Includes the cost of Door Handle, Jamb, and door stop |  | EA | 220 | Stage 3 - Construction
11 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Additional Joinery (Built-ins) | 3 shelf & 4 drawer addition |  | EA | 650 | Stage 3 - Construction
12 | OPTIONAL UPGRADES | Electrical |  | Additional Single External, Waterproof Power Point |  |  | EA | 400 | Stage 3 - Construction
13 | PLUMBING | Plumbing - Variations |  | Additional Trenching | Includes cost of pipes and conduits. NO making good, refill with dirt |  | L/M | 250 | Stage 3 - Construction
14 | OPTIONAL UPGRADES | Electrical |  | Air Conditioner - Ducted (10kw) | Supply & Install 10kW Actron Air ducted reverse cycle air conditioning system 2 zones 4 outlets 5 years warranty on parts and labour *Subject to BASIX requirements, variations may occur. | Actron | EA | 7600 | Stage 3 - Construction
15 | OPTIONAL UPGRADES | Electrical |  | Air Conditioner - Provision Only | Split system provisions including electrical connection & separate 10amp switch in meter box *Subject to BASIX requirements, variations may occur. |  | EA | 550 | Stage 3 - Construction
16 | OPTIONAL UPGRADES | Electrical | SWB36 | Air Conditioner - Split (2.5kW) | Supply & Install 2.5kW Actron Air Aurora wall split system (SWB36) reverse cycle air Conditioner Standard single storey back To back (at 3m cable/wiring) Split System Installation, mounted on poly-slab or anti vibration feet Must be back-to-back 5 years warranty on parts and labour *Subject to BASIX requirements, variations may occur. | Actron | EA | 2150 | Stage 3 - Construction
17 | OPTIONAL UPGRADES | Electrical | SWB36 | Air Conditioner - Split (3.5kW) | Supply & Install 3.5kW Actron Air Aurora wall split system (SWB36) reverse cycle air Conditioner Standard single storey back To back (at 3m cable/wiring) Split System Installation, mounted on poly-slab or anti vibration feet Must be back-to-back 5 years warranty on parts and labour *Subject to BASIX requirements, variations may occur. | Actron | EA | 2450 | Stage 3 - Construction
18 | OPTIONAL UPGRADES | Electrical | SWB36 | Air Conditioner - Split (5kW) | Supply & Install 5kW Actron Air Aurora wall split system (SWB36) reverse cycle air Conditioner Standard single storey back To back (at 3m cable/wiring) Split System Installation, mounted on poly-slab or anti vibration feet Must be back-to-back 5 years warranty on parts and labour *Subject to BASIX requirements, variations may occur. | Actron | EA | 2750 | Stage 3 - Construction
19 | PLANNING & APPROVALS | Preliminary Assesment |  | Architectural Plans (Construction\Approval Set) | Detailed Architectural Drawings (based on Sketch Plan) required for approval\construction. |  | EA | 1350 | Stage 1 - Design
20 | COMMON UPGRADES | Building Modifications |  | Attached Granny Flat | Adjoining a granny to another structure. INCLUDES: Any required dowling to existing slab, closing in of existing openings such as windows\doors, relocation of existing\affected downpipes\gutters, existing roofing re-configuration and\or relocation of existing \affected ancillary items such as HWS. EXCLUDES: Any making good to closed-in openings, any new openings that maybe required i.e. light\ventilation sources to existing bathrooms\bedrooms etc. QUALIFICATION: Final levels and design of granny flat will be subject to Engineering, Architectural and Planning requirements after SURVEY and during the DESIGN & APPROVAL phase. This may mean changes to the proposed granny flat roof design and material, location of services and\or final levels. |  | L/M | 2000 | Stage 3 - Construction
21 | COMMON UPGRADES | Bushfire Requirements |  | BAL 12.5 | As per plans and relevant BCA requirements and may include; [External walls] â¬ Parts less than 400 mm above ground or decks etc to be of non-combustible material, 6 mm fibre cement clad or bushfire resistant/naturally fire resistant timber, [External Windows] - 4mm Grade A Safety Glass or glass blocks within 400 mm of ground, deck etc with Openable portion metal screened with frame of metal or metal reinforced PVC-U or bushfire resisting timber, [External Doors] - naturally fire resistant (high density) timber, [Roofs] - Non-combustible covering. Roof/wall junction sealed. Openings fitted with non-combustible ember guards. [Roofs] - Non-combustible covering. Roof/wall junction sealed. Openings fitted with non-combustible ember guards. Roof to be fully sarked - (non-standard Verandas & Decks will may very this cost) - ALLOW 14 additional days to time-frame. |  | EA | 6565 | Stage 3 - Construction
22 | COMMON UPGRADES | Bushfire Requirements |  | BAL 19 | As per plans and relevant BCA requirements and may include; [External walls] â¬ Parts less than 400 mm above ground or decks etc to be of non-combustible material, 6 mm fibre cement clad or bushfire resistant/naturally fire resistant timber, [External Windows] - 5mm toughened glass or glass blocks within 400 mm of ground, deck etc with Openable portion metal screened with frame of metal or metal reinforced PVC-U or bushfire resisting timber. Above 400mm annealed glass can be used with all glass screened, [External Doors] - Screened with steel, bronze or aluminium mesh or glazed with 5 mm toughened glass, non-combustible or 35 mm solid timber for 400 mm above threshold, metal or bushfire resisting timber framed for 400 mm above ground, decking, etc, tight-fitting with weather strips at base. [Roofs] - Non-combustible covering. Roof/wall junction sealed. Openings fitted with non-combustible ember guards. Roof to be fully sarked - (non-standard Verandas & Decks will may very this cost) - ALLOW 14 additional days to time-frame. |  | EA | 7475 | Stage 3 - Construction
23 | COMMON UPGRADES | Bushfire Requirements |  | BAL 29 | As per plans and relevant BCA requirements and may include; [Subfloor Supports] - Enclosure by external wall or by steel, bronze or aluminium mesh, non-combustible supports where the subfloor is unenclosed or naturally fire resistant timber, [Floors] - Concrete slab on ground or enclosure by external wall, metal mesh as above or flooring less than 400 mm above ground level to be non-combustible, naturally fire resistant timber or protected on the underside with sarking or mineral wool insulation, [External walls] â¬ Non-combustible material (masonry, brick veneer, mud brick, aerated concrete, concrete), timber framed, steel framed walls sarked on the outside and clad with 6 mm fibre cement sheeting or steel sheeting or bushfire resistant timber, [External Windows] - 5 mm toughened glass with openable portion screened and frame ofmetal or metal reinforced PVC-U, or bushfire resisting timber and portion within 400 mm of ground, deck etc screened, [External Doors] - Screened with steel, bronze or aluminium mesh or non- combustible, or 35 mm solid timber for 400 mm above threshold. Metal or bushfire resisting timber framed tight-fitting with weather strips at base, [Roofs] - Non-combustible covering. Roof/wall junction sealed. Openings fitted with non-combustible ember guards. Roof to be fully sarked - (non-standard Verandas & Decks will may very this cost) - ALLOW 14 additional days to time-frame. |  | EA | 11154 | Stage 3 - Construction
24 | COMMON UPGRADES | Standard Inclusion |  | BAL LOW | Standard Inclusion - As per plans and relevant BCA requirements. |  | EA | 0 | Stage 3 - Construction
25 | PLANNING & APPROVALS | Preliminary Assesment |  | BASIX |  |  | EA | 60 | Stage 2 - Approval
26 | OPTIONAL UPGRADES | Bathroom/Laundry |  | Bath Tub | As per the plans |  | EA | 2200 | Stage 3 - Construction
27 | COMMON UPGRADES | Electrical |  | Batton Light ( No light fitting) |  |  | EA | 90 | Stage 3 - Construction
28 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Breakfast Bench Return (1.2 to 1.8m) | Stone Benchtop (builder range, standard) with 200mm overhang and cabinetry under (melamine). Assumes RESCON Builders standard kitchen sizes. (excludes waterfall edge) |  | EA | 2200 | Stage 3 - Construction
29 | COMMON UPGRADES | Building Modifications |  | Brick Posts | 230 mm x 230 mm brick posts to underside of eaves/soffit. Includes Engineered Pad footings. (Applicable to Brick Veneer Jobs Only) |  | EA | 895 | Stage 3 - Construction
30 | COMMON UPGRADES | Garage |  | Brushed Concrete Driveway - Extra Sq Meter |  |  | SQM | 150 | Stage 3 - Construction
31 | COMMON UPGRADES | Garage |  | Brushed Concrete Driveway - Minimum charge of 30 Sq Meter |  |  | SQM | 220 | Stage 3 - Construction
32 | PLANNING & APPROVALS | Preliminary Assesment |  | Building\Structure - Demolition Approval | This cost allows for the approval of demolition works for buildings\structures approximately 10sqm or larger. In situations where the owner(s) is responsible for demolition work the onus is on the owner(s) getting the relevant insurance, licence and asbestos clearance certifiers (if applicable) and failure to do so may affect or delay the provision of OC. |  | EA | 850 | Stage 1 - Design
33 | PLANNING & APPROVALS | Preliminary Assesment |  | Bushfire Assesment Report (BAL Rating) | This report provides the BAL rating for the site. (Must be BAL 29 or lower for CDC). Depending on the BAL result additional costs may apply. |  | EA | 650 | Stage 1 - Design
34 | WINDOWS | Additional Windows |  | Cavity Slider Door | Standard Hollow core timber door of builders range, 720 mm wide- Includes the cost of hardware for the cavity slider |  | EA | 440 | Stage 3 - Construction
35 | OPTIONAL UPGRADES | Electrical |  | Ceiling Fan (with Light Attachment) | 1200 White Metal Ceiling Fan with light. (Suitable for Bedrooms) |  | EA | 370 | Stage 3 - Construction
36 | OPTIONAL UPGRADES | Electrical |  | Ceiling Fan (without Light Attachment) | 1200 White Metal Ceiling Fan without light (Suitable for Living rooms) |  | EA | 330 | Stage 3 - Construction
37 | OPTIONAL UPGRADES | Misc |  | Christmas Special - 2.7 Ceiling | As per the attached Flier |  | EA | 2500 | Stage 3 - Construction
38 | OPTIONAL UPGRADES | Misc |  | Christmas Special - Aircon | As per the attached Flier |  | EA | 2500 | Stage 3 - Construction
39 | OPTIONAL UPGRADES | Misc |  | Christmas Special - Dishwasher | As per the attached Flier |  | EA | 2500 | Stage 3 - Construction
40 | OPTIONAL UPGRADES | Landscaping & Fencing |  | Clothesline | Foldown Clothesline on metal posts, 24 Meters string length |  | EA | 550 | Stage 3 - Construction
41 | OPTIONAL UPGRADES | Landscaping & Fencing |  | Colorbond Fence\Fencing | 1.8m high Colorbond fencing. Minimum length 8m. |  | L \ M | 95 | Stage 3 - Construction
42 | OPTIONAL UPGRADES | Landscaping & Fencing |  | Colorbond Gate - Double | 1.8mx1.8m double gate |  | EA | 970 | Stage 3 - Construction
43 | OPTIONAL UPGRADES | Landscaping & Fencing |  | Colorbond Gate - Single | 900x1.8m single gate |  | EA | 680 | Stage 3 - Construction
44 | COMMON UPGRADES | Pergola |  | Colorbond Pergola | Include concrete slab & drainage/downpipes. - ALLOW 14 additional days to time-frame. |  | sqm | 650 | Stage 3 - Construction
45 | ROOF | Roofing |  | Colorbond Roof | Optional Upgrade |  | EA | 1500 | Stage 3 - Construction
46 | ROOF | Standard Inclusion |  | Concrete Roof | Standard Inclusion |  | EA | 0 | Stage 3 - Construction
47 | PLANNING & APPROVALS | Preliminary Assesment |  | Countour & Boundary Survey | Detailed contour survey (AHD) with boundary alignment. |  | EA | 1650 | Stage 1 - Design
48 | COMMON UPGRADES | Building Modifications |  | Covered Alfresco - Concrete | This includes, covered roof structure (as per standard plans), gutters, fascia, 1x bunker light (2 x Bunker Lights for alfresco over 14 sq meter), stormwater discharge (as required), timber posts, over a slab with brushed concrete finish surface. [aluminium balustrades (builder range) applies ONLY if floor height 900mm or higher from ground, upto 5 steps (Max 190 mm) on Galvanized Stringers] - (applicable to slab on ground designs only) |  | sqm | 770 | Stage 3 - Construction
49 | COMMON UPGRADES | Building Modifications |  | Covered Alfresco - Tiled\Concrete | This includes, covered roof structure (as per standard plans), gutters, fascia, 1x bunker light (2 x Bunker Lights for alfresco over 14 sq meter), stormwater discharge (as required), timber posts, over a slab with tiled surface. [aluminium balustrades (builder range) applies ONLY if floor height 900mm or higher from ground, upto 5 steps (Max 190 mm) on Galvanized Stringers] - (applicable to slab on ground designs only) |  | sqm | 990 | Stage 3 - Construction
50 | COMMON UPGRADES | Building Modifications |  | Covered Alfresco - Timber Decking | This includes, covered roof structure (as per standard plans), gutters, fascia, 1x bunker light (2 x Bunker Lights for alfresco over 14 sq meter), stormwater discharge (as required), timber posts, over a merbau decking, [aluminium balustrades (builder range) applies ONLY if floor height 900mm or higher from ground, upto 5 steps (Max 190 mm) pre-fabricated] - (applicable to raised pier designs only) |  | sqm | 1188 | Stage 3 - Construction
51 | SITE ACCESS | Tight \ Difficult Access |  | Creating Access Through Back of Garage | This Items strictly to create access through the garage door by making an opening as wide as a single garage door. Assuming it is a single brick layer and nothing is built on top of the garage. Includes cost of cutting through the cladding, erecting posts to support lintels as and when required, included rubbish removal produced as a result of the subject works. EXCLUDES: Installation of any garage door, any electrical, plumbing or services works. NOTE: We will not be able to match the bricks used to erect the posts with the old bricks |  | EA | 6200 | Stage 3 - Construction
52 | PLANNING & APPROVALS | Preliminary Assesment |  | DA Reports, Submissions & Town Planner Charges | This cost includes: 1) Statement of Environmental Effects (SEE) 2) Waste Management Plan 3) any plan changes required/requested by Council4) DA Approval submission to council prepared by a Town Planner. EXCLUDES: Any council fees |  | EA | 2950 | Stage 1 - Design
53 | PLANNING & APPROVALS | Preliminary Assesment |  | DA Sketch Plan Assessment |  |  | EA | 3950 | Stage 1 - Design
54 | COMMON UPGRADES | Decking |  | Decking | Composite Decking - includes Piers, [aluminium balustrades (builder range) applies ONLY if floor height 900mm or higher from ground, upto 5 steps (Max 190 mm) on Galvanized Stringers]. |  | sqm | 760 | Stage 3 - Construction
55 | COMMON UPGRADES | Sydney Water Peg-out |  | Deeper Piers (Zone \ Impact Area) | Up to 9x concrete piers to a maximum depth of 2.3m. |  | EA | 3980 | Stage 3 - Construction
56 | DEMOLITION | Site Clearing |  | Demolition - Concrete Cutting | Allows for concrete cutting (e.g. for service connections) if there is concrete paths\patios etc between the proposed granny flat and the rear of the property and\or electrical meter box of the main property. Excludes making good. Open trenches will be filled\leveled and client responsibility to reinstate. Up to a maximum of 15 l/m of concrete cutting.. Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | L \ M | 350 | Stage 3 - Construction
57 | DEMOLITION | Site Clearing |  | Demolition - Concrete Cutting (10/19) | Allows for concrete cutting (e.g. for service connections) if there is concrete paths\patios etc between the proposed granny flat and the rear of the property and\or electrical meter box of the main property. Excludes making good. Open trenches will be filled\leveled and client responsibility to reinstate. Up to a maximum of 15 l/m of concrete cutting.. Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | EA | 1500 | Stage 3 - Construction
58 | DEMOLITION | Site Clearing |  | Demolition - Concrete Pool Removal | Includes: 1) Spoil Removal 2) Allows for import\export of fill as required. 3) Assumed approximate - (9 m x 5 m x 2m) Pool 5) Excludes surrounding fence\pavers\retaining\landscaping etc (must be priced separately) (Excludes Asbestos or dumped waste), any services found will be disconnected\capped NOT relocated - ALLOW 14 additional days to time-frame. |  | EA | 15600 | Stage 3 - Construction
59 | DEMOLITION | Site Clearing |  | Demolition - Fibreglass Pool Removal | 1) Spoil Removal 2) Allows for import\export of fill as required. 3) Assumed approximate - (9 m x 5 m x 2m) Pool 5) Excludes surrounding fence\pavers\retaining\landscaping etc (must be priced separately) (Excludes Asbestos or dumped waste), any services found will be disconnected\capped NOT relocated - ALLOW 14 additional days to time-frame. |  | EA | 13000 | Stage 3 - Construction
60 | DEMOLITION | Slab Rebate |  | Demolition - Garage Rebate (No Slab Removal) - Large (>35 sqm) | EXCLUDES: Pergola\Shed, to a maximum of 45sqm. |  | EA | -1850 | Stage 3 - Construction
61 | DEMOLITION | Slab Rebate |  | Demolition - Garage Rebate (No Slab Removal) - Medium (<35 sqm) | EXCLUDES: Pergola\Shed |  | EA | -950 | Stage 3 - Construction
62 | DEMOLITION | Slab Rebate |  | Demolition - Garage Rebate (No Slab Removal) - Small (<20 sqm) | EXCLUDES: Pergola\Shed |  | EA | -550 | Stage 3 - Construction
63 | DEMOLITION | Heavy Duty Garage (Bricks and Roof tiles) |  | Demolition - Heavy Duty Garage - Large (>35 sqm) | Bricks and Roof tiles to a maximum of 45sqm. INCLUDES: Asbestos removal if found on walls or roof sheets EXCLUDES: Any bonded Asbestos under slab and\or asbestos contaminated soil, any services found will be disconnected\capped NOT relocated. Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | EA | 16950 | Stage 3 - Construction
64 | DEMOLITION | Heavy Duty Garage (Bricks and Roof tiles) |  | Demolition - Heavy Duty Garage - Medium (<35 sqm) | Bricks and Roof tiles to a maximum of 45sqm. INCLUDES: Asbestos removal if found on walls or roof sheets EXCLUDES: Any bonded Asbestos under slab and\or asbestos contaminated soil, any services found will be disconnected\capped NOT relocated. Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | EA | 10990 | Stage 3 - Construction
65 | DEMOLITION | Heavy Duty Garage (Bricks and Roof tiles) |  | Demolition - Heavy Duty Garage - Small (<20 sqm) | Bricks and Roof tiles to a maximum of 45sqm. INCLUDES: Asbestos removal if found on walls or roof sheets EXCLUDES: Any bonded Asbestos under slab and\or asbestos contaminated soil, any services found will be disconnected\capped NOT relocated . Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | EA | 8990 | Stage 3 - Construction
66 | DEMOLITION | Light Garage (Cladding and Metal Roof) |  | Demolition - Lightweight Garage - Large (>35 sqm) | Cladding and Metal Roof to a maximum of 45sqm. INCLUDES: Asbestos removal if found on walls or roof sheets EXCLUDES: Any bonded Asbestos under slab and\or asbestos contaminated soil, any services found will be disconnected\capped NOT relocated. Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | EA | 13990 | Stage 3 - Construction
67 | DEMOLITION | Light Garage (Cladding and Metal Roof) |  | Demolition - Lightweight Garage - Medium (<35 sqm) | Cladding and Metal Roof to a maximum of 45sqm. INCLUDES: Asbestos removal if found on walls or roof sheets EXCLUDES: Any bonded Asbestos under slab and\or asbestos contaminated soil, any services found will be disconnected\capped NOT relocated. Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | EA | 8990 | Stage 3 - Construction
68 | DEMOLITION | Light Garage (Cladding and Metal Roof) |  | Demolition - Lightweight Garage - Small (<20 sqm) | Cladding and Metal Roof to a maximum of 45sqm. INCLUDES: Asbestos removal if found on walls or roof sheets EXCLUDES: Any bonded Asbestos under slab and\or asbestos contaminated soil, any services found will be disconnected\capped NOT relocated. Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | EA | 5690 | Stage 3 - Construction
69 | DEMOLITION | Structure - Including Slab (Shed\Pergola) |  | Demolition - Lightweight Shed\Pergola - Large (>20 sqm) | Maximum of 35sqm. INCLUDES: Asbestos removal if found on walls or roof sheets EXCLUDES: Any bonded Asbestos under slab and\or asbestos contaminated soil, any services found will be disconnected\capped NOT relocated. Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | EA | 4590 | Stage 3 - Construction
70 | DEMOLITION | Structure - Including Slab (Shed\Pergola) |  | Demolition - Lightweight Shed\Pergola - Medium (10-20 sqm) | INCLUDES: Asbestos removal if found on walls or roof sheets EXCLUDES: Any bonded Asbestos under slab and\or asbestos contaminated soil, any services found will be disconnected\capped NOT relocated. Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | EA | 3150 | Stage 3 - Construction
71 | DEMOLITION | Structure - Including Slab (Shed\Pergola) |  | Demolition - Lightweight Shed\Pergola - Small (<10 sqm) | INCLUDES: Asbestos removal if found on walls or roof sheets EXCLUDES: Any bonded Asbestos under slab and\or asbestos contaminated soil, any services found will be disconnected\capped NOT relocated. Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | EA | 1550 | Stage 3 - Construction
72 | DEMOLITION | Site Clearing |  | Demolition - Site Clearing - Dense Shrubs | This allows for the demolition, removal\disposal of existing Shrubs(Excludes Asbestos) - ALLOW 3 additional days to time-frame. |  | sqm | 80 | Stage 3 - Construction
73 | DEMOLITION | Site Clearing |  | Demolition - Site Clearing - shrubs, concrete, pavers etc. | This allows for the demolition, removal\disposal of existing concrete slabs, paths, garden beds, pavers, fencing, rubble, retaining walls (under 600mm), shrubs\small trees up to 3m in height. (Excludes Asbestos) - ALLOW 7 additional days to time-frame.. Maximum thickness of slab that is accounted for, if any, under this item is 150 mm. |  | sqm | 160 | Stage 3 - Construction
74 | DEMOLITION | Site Clearing |  | Demolition - Small Tree\Shrub Removal (<2m) or Palms\Small Fruit Trees | Small machine (excavator) removal of small trees\shrubs. Includes tree, root ball removal\disposal. In the event a tree lopper is required this will be a variation. EXCLUDES: Tree Lopping services, strictly assumes machine removal in a reasonable time. |  | EA | 150 | Stage 3 - Construction
75 | DEMOLITION | Site Clearing |  | Demolition - Tree Removal (2-6m) | Trees 2-6m in height only including stump griding. Trees above 6m client to remove. EXCLUDES: Removing roots. |  | EA | 1250 | Stage 3 - Construction
76 | PLANNING & APPROVALS | Preliminary Assesment |  | Design & Approval Fee for Studios (Approved and constructed in conjunction with Granny Flat) | Includes standard cost of design and approval for the Studio built in conjunction with the Granny Flat. |  | EA | 3975 | Stage 1 - Design
77 | PLANNING & APPROVALS | Preliminary Assesment |  | Development Approval (DA) Council Submission | This cost includes all necessary standard plans (including, floor, site and elevation plans), any plan changes required/requested by Council, Statement of Environmental Effects (SEE) & Waste Management Plan prepared by a Town Planner who will oversee the entire application. EXCLUDES: Any council fees |  | EA | 1500 | Stage 1 - Design
78 | SITE ACCESS | Tight \ Difficult Access |  | Difficult Access \ Ramp Requirements | This is strictly for the creation of temporary dirt ramps (to a maximum height of 1m) to achieve 1m minimum access to site. This cost strictly excludes any associated demolition works and\or making good. Builder not responsible for damage caused as a result of ramp material and\or use. - ALLOW 14 additional days to time-frame. |  | EA | 6200 | Stage 3 - Construction
79 | OPTIONAL UPGRADES | Electrical |  | Digital Antennae | Builder to select location |  | EA | 395 | Stage 3 - Construction
80 | PLANNING & APPROVALS | Preliminary Assesment |  | Discount for client supplied survey plan. | Must include, contours to AHD, boundary alignment and provided in DWG & PDF format. |  | EA | -825 | Stage 1 - Design
81 | OPTIONAL UPGRADES | Electrical |  | Discount\Remove - Air Conditioner - Split (2.5kW) from the "Rental Ready Pack" | Only applicable if "Rental Ready Pack" is chosen. |  | EA | -1000 | Stage 3 - Construction
82 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Dishwasher | 60cm free standing dishwasher, 12 place settings, 5 wash programs. |  | EA | 1250 | Stage 3 - Construction
83 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Dishwasher provision only | Provisioning for space, plumbing and electrical only. Client to install. |  | EA | 490 | Stage 3 - Construction
84 | GARAGE & CARPORTS | Carports & Pergolas |  | Double Carport | Based on standard size 5.5m x 6m, include concrete slab & drainage/downpipes. - ALLOW 14 additional days to time-frame. |  | EA | 25750 | Stage 3 - Construction
85 | GARAGE & CARPORTS | Garage |  | Double Garage - (in Brick or Render or Weatherboard) | up to 36sqm, In same cladding option as granny flat, (full framed, lined with cornices and painted finish, 2x Fluorescent Battons, 1x dbl power point, 1 Standard window (1.2 x 1.5 m) each, manual colorbond garage roller door, exposed concrete floor) - Included under upto 12 under slab piers upto a depth of 600 mm each. excludes -Site Costs (slope). (Driveway NOT included) - ALLOW 14 additional days to time-frame. |  | EA | 33950 | Stage 3 - Construction
86 | GARAGE & CARPORTS | Garage |  | Double Garage - (in Vinyl Cladding) | up to 36sqm, In Vinyl cladding option as granny flat, (full framed, lined with cornices and painted finish, 2x Fluorescent Battons, 1x dbl power point, 1 Standard window (1.2 x 1.5 m) each, manual colorbond garage roller door, exposed concrete floor) - Included under upto 12 under slab piers upto a depth of 600 mm each. excludes -Site Costs (slope). (Driveway NOT included) - ALLOW 14 additional days to time-frame. |  | EA | 30950 | Stage 3 - Construction
87 | OPTIONAL UPGRADES | Entry Security Door |  | Entry - Security Door | Diamond grille; including - Deadlock levered handle, Heavy duty aluminium frame, Bug seal to bottom of door, flyscreen. Color to best match window frames. Color differences may result. |  | EA | 1250 | Stage 3 - Construction
88 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Extend \ Wider Wardrobes | (Standard width 1.8m). This cost is for anything wider than 1.8m; allows for additional doors, cabinetry as required. Does not include any additional shelving, draws above what has been inclduded. Additional items must be priced separately if requested. |  | L \ M | 580 | Stage 3 - Construction
89 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Extend Kitchen | Extend overhead\underside cabinetry, includes stone benchtop. |  | L \ M | 1550 | Stage 3 - Construction
90 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Extended overhead cabinetry - Melamine \ Polyurethane | Overhead cabinetry extended to ceiling (up to 2.4m only) |  | EA | 550 | Stage 3 - Construction
91 | OPTIONAL UPGRADES | Misc |  | External Grade Tiles | External Grade Tiling, 300 x 300 to the designated Patio/Alfresco Area, As per Plans |  | SQM | 220 | Stage 3 - Construction
92 | PLUMBING | Plumbing - Variations |  | External Tap | Additional External Tap, includes brass tap, rough-ins and allows for any additional trenching to run water service. |  | EA | 550 | Stage 3 - Construction
93 | COMMON UPGRADES | Building Modifications |  | Extra Bedroom | As per RESCON Builders standard plans & inclusions. NOTE* if customer supplied plans are used then all specific notations on plans contrary to RESCON Builders standard inclusions have been ignored and not factored into the tender price or scope of works. |  | EA | 3950 | Stage 3 - Construction
94 | COMMON UPGRADES | Building Modifications |  | Extra Concrete Step | Concrete Step Formed up with SL 72 or SL 82 mesh as per engineer's specs |  | EA | 450 | Stage 3 - Construction
95 | COMMON UPGRADES | Building Modifications |  | Extra Ensuite \ Bathroom | As per RESCON Builders standard plans & inclusions. NOTE* if customer supplied plans are used then all specific notations on plans contrary to RESCON Builders standard inclusions have been ignored and not factored into the tender price or scope of works. |  | EA | 6950 | Stage 3 - Construction
96 | OPTIONAL UPGRADES | Electrical |  | Extra External Bunker | 13w powder coated aluminium bunker light with translucent polycarbonate lens |  | EA | 195 | Stage 3 - Construction
97 | OPTIONAL UPGRADES | Electrical |  | Extra External Sensor Light | Double LED Sensor Floodlight (Black) |  | EA | 230 | Stage 3 - Construction
98 | OPTIONAL UPGRADES | Electrical |  | Extra LED down-light | 12w, 240v LED (white) Warm White (light) |  | EA | 120 | Stage 3 - Construction
99 | DEMOLITION | Site Clearing |  | Extra Load Removal of Dirt | This allows for extra 1 load of dirt removal. 1 Load is assumed as 8 Tonnes. Excludes: Removal of any other type of material, for e.g (but not limited to) Concrete, Rock, Asbestos, Green Waste, metal etc. |  | Per Load | 1200 | Stage 3 - Construction
100 | OPTIONAL UPGRADES | Electrical |  | Extra Point - CAT 6 cabling | Additional CAT6 data points (excludes initial setup, to be priced seperately) |  | EA | 120 | Stage 3 - Construction
101 | COMMON UPGRADES | Decking |  | Extra Timber Step | Composite Decking Treads on galv stringer |  | EA | 280 | Stage 3 - Construction
102 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Feature Window Kitchen Splashback | Feature Fixed (safety\tempered) Window - Splash-back to underside of cabinetry. Up to a maximum width of 2800 (subject to design limitations), benchtop will meet and\or cover window reveal and any overhead cabinetry will be set approximately 700mm higher than the bench to allow for window. |  | EA | 2400 | Stage 3 - Construction
103 | PLANNING & APPROVALS | Preliminary Assesment |  | Final Iden & Check Measure Survey | Final Iden & Check Measure Survey |  | EA | 925 | Stage 1 - Design
104 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Finger Pull Cabinetry | Extended finger pull overhead cabinetry doors & sharknose drawers & undebench cabinetry for Polyurethane kitchens Extended finger pull overhead cabinetry doors for Melamine/Laminate cabinetry |  | EA | 450 | Stage 3 - Construction
105 | COMMON UPGRADES | Fire Rated Requirements |  | Fire Rated wall 16 MM | Excludes fire rated windows, doors or any openings. Up to a maximum of 12 l/m. |  | EA | 2850 | Stage 3 - Construction
106 | PLANNING & APPROVALS | Preliminary Assesment |  | Flood Certificate & Investigation | A licenced hydraulics engineer will carry out an investigation, correspond with council and either provide a "Engineering Certificate" outlining what must be carried out to comply with any flood controls and confirm CDC approval is required OR recommend a DA is the only solution. If a hydraulics Flood Report is required this will be quoted separately. |  | EA | 950 | Stage 1 - Design
107 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Flue Range hood | Upgrade range hood to be externally flue to vents in eave linings (location of vent to builders discretion) |  | EA | 550 | Stage 3 - Construction
108 | OPTIONAL UPGRADES | Misc |  | Full External Service Provisions | Includes, External Tap (with HOT & COLD) service, with Waste (Connected to Sewer) either capped (or as a Gully). Final location maybe subject to change by Plumber on site. |  | EA | 3950 | Stage 3 - Construction
109 | PLANNING & APPROVALS | Preliminary Assesment |  | Garage\Carport Design & Approval | This const included the cost of getting the design and approval done for attached\detached garage\carport, which is to be designed, approved and constructed in conjunction with the Granny Flat. |  | EA | 1100 | Stage 1 - Design
110 | OPTIONAL UPGRADES | Electrical |  | Gas Bayonet | Bayonet fitting 1/2" Female BSP with Mounting Flange Additional Power point to accommodate for electrical/gas heater |  | EA | 560 | Stage 3 - Construction
112 | PLANNING & APPROVALS | Preliminary Assesment |  | Geotechnical Report \ Engineer Assesment | Geotechnical Report (or engineering assesment) to assess sites with fill, rock for suitability and/or structural advice for the proposed construction. (Excludes any additional works required to meet compliance). |  | EA | 2500 | Stage 1 - Design
113 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Glass Kitchen Splashback | Glass Splash-back to underside of cabinetry, Choice of single Dulux Colour. Assumes RESCON Builders standard kitchen sizes. |  | EA | 2400 | Stage 3 - Construction
114 | PLANNING & APPROVALS | Preliminary Assesment |  | Gosford Council - Fees for water and sewer only | Final 307 certificate: Water Headworks Water Augmentation Sewer Augmentation Council Administration Fee Building Assesment Fee Inspection Fee |  | EA | 2150 | Stage 1 - Design
115 | OPTIONAL UPGRADES | Bathroom/Laundry |  | Grab Bars |  |  | EA | 320 | Stage 3 - Construction
116 | PLANNING & APPROVALS | Preliminary Assesment |  | Granny Flat Pegout Survey | Pegout and Check Measure Survey |  | EA | 925 | Stage 1 - Design
117 | OPTIONAL UPGRADES | Building Modifications |  | H2 Treated Timber Frame | H2 Treated Timber Frame for Walls and Roof. Applicable for 60 Sq Meter granny Flat. For attached Alfresco bigger that 12 Sq meter, Single Garage or Double Garage an additional cost of $330 would apply. |  | EA | 660 | Stage 3 - Construction
118 | COMMON UPGRADES | Half Brick Wall |  | Half Brick Wall for Alfresco (Max 1.2 High) | Brick wall to covers alfresco, calculated at per lineal meter rate, with a maximum height upto 1.2 meters high from Finished Floor Level |  | L \ M | 290 | Stage 3 - Construction
119 | OPTIONAL UPGRADES | Electrical |  | Home Alarm System | Supply and Install Bosch Home Alarm Package + 1 x External Siren + 1 x Internal Siren + 1 x Keypad |  | EA | 2650 | Stage 3 - Construction
120 | PLANNING & APPROVALS | Preliminary Assesment |  | Home Building Compensation Fund (HBCF) | Requesting & Cost of HBCF |  | EA | 2000 | Stage 2 - Approval
121 | PLANNING & APPROVALS | Preliminary Assesment |  | Hydraulic Engineering Drawings (inc Certificate) | Hydraulic Engineering Drawings required for approval \ construction. Including stormwater plan. |  | EA | 495 | Stage 2 - Approval
122 | OPTIONAL UPGRADES | Electrical |  | Initial Setup - CAT 6 cabling (1pt) | Each data point cabled to a central hub. Client to supply HUB Run alongside Telstra conduit up to Telstra connection of main house |  | EA | 550 | Stage 3 - Construction
123 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Island Bench (1.2 to 1.8m) | Stone Benchtop (builder range, standard) with 200mm overhang and cabinetry under (melamine). Assumes RESCON Builders standard kitchen sizes. (excludes waterfall edge) |  | EA | 2200 | Stage 3 - Construction
124 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Kidney pullout | For corner cabinets (if applicable) |  | EA | 1800 | Stage 3 - Construction
125 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Kitchen Bulkhead 2.4m | Melamine Bulkheads above kitchen cabinetry |  | EA | 980 | Stage 3 - Construction
126 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Kitchen Bulkhead 2.7m | Bulkheads above kitchen cabinetry, Plasterboard & cornice |  | EA | 1200 | Stage 3 - Construction
127 | OPTIONAL UPGRADES | Landscaping & Fencing |  | Landscaping Package | Supply and Install of following: 1) Levelling and top soil the ground (max 100 Sq Meter) 2) Laying down 100 Sq meter of grass, including fertilizer 3) Compacting with roller 4) Creating footpath around 3 sides of granny flat with timber edging (max of 25 L/m) 5) Weed mat, pebbles and concrete stepping stone of 400 x 400 mm (max 20) Does NOT INCLUDE: Levelling the ground if slope is more than 200 mm |  | EA | 5950 | Stage 3 - Construction
128 | OPTIONAL UPGRADES | Roof Upgrades |  | Re-point\bed | Builders Range |  | LM | 90 | Stage 3 - Construction
129 |  |  |  | Leaf Stopper\Guard (or similar) 67m²-100m - 2² | Steel mesh, powder-coated in matching colour to gutters, installed to the gutters & roof valleys. Suitable for both Colorbond or tiled roofs & bushfire zones up to BAL29 (Applicable for granny flats & covered porch/alfresco/garage from 67mÂ² to 100mÂ²) |  | LM | 50 | Stage 3 - Construction
130 | OPTIONAL UPGRADES | Electrical |  | Light Switch/ Phone Point/ Internal DBL Power Point/ Additional TV point |  |  | EA | 120 | Stage 3 - Construction
131 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Linen Closet | Single (520) door 4 shelves Assuming 2.4m ceiling |  | EA | 850 | Stage 3 - Construction
132 | PLANNING & APPROVALS | Preliminary Assesment |  | Long Service Levy (LSL) | Requesting & Cost of LSL |  | EA | 500 | Stage 1 - Design
133 | PLANNING & APPROVALS | Preliminary Assesment |  | Lot \ Block Amalgamation | This cost includes all necessary Survey work including existing Boundary Re-alignments, Proposed Lot Amalgamation Survey, Easement\Title Changes. EXCLUDES: Any potential works required. |  | EA | 5500 | Stage 1 - Design
134 | OPTIONAL UPGRADES | Misc |  | Lux Bathroom Pack | 4 Premium Inclusions: 1) Hand On Shower Rail with Mixer 2) Modern Mixer tap to bathroom 3) Full ceramic toilet suite (soft close seat) 4) Floor to ceiling tiling NOTE: Deletion of any item would not be credited Offers contained here cannot be used in conjunction with any other offer Rescon Builders reserve the right to revise plans, specifications and change or withdraw this offer without notice or obligation |  | EA | 2500 | Stage 3 - Construction
135 | SITE ACCESS | Traffic Control |  | Main Roads \ Busy Roads | A concrete/load removal truck must still be able to enter/park/reverse from site. Traffic Control is solely to assist in vehicles entering\exiting the site. This provision excludes highways\freeways as councils typical refuse such traffic control requests on such roads during the day and CDC applications do not permit night work. |  | EA | 6950 | Stage 3 - Construction
136 | GARAGE & CARPORTS | Manual Garage Door |  | Manual Garage Door - Single | Single manual Garage Door available in choice of colors |  | EA | 880 | Stage 3 - Construction
137 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Microwave Space | Microwave space |  | EA | 450 | Stage 3 - Construction
138 | PLANNING & APPROVALS | Preliminary Assesment |  | Mine Subsidence | Additional 14 days |  | EA | 80 | Stage 1 - Design
139 | SITE ACCESS | Tight \ Difficult Access |  | Move\Relocate Items for Access | This allows for the temporary relocation of items such as AC compressor units, HWS (hot water systems), down pipes to allow for access. Note: RESCON Builders will in no way guarantee that items will not be scratched or damaged in this process. This cost strictly excludes items such as gates\fences\decking\stairs etc. (maximum of 3 items to be relocated) |  | EA | 950 | Stage 3 - Construction
140 | PLUMBING | Plumbing - Variations |  | Natural Gas Connection | Registered Gas Meter, Gas Cooktop & Instantaneous Gas HWS (Max 35m allowed for, $120/m variation thereafter.) |  | EA | 2950 | Stage 3 - Construction
141 | OPTIONAL UPGRADES | Electrical |  | Oyster Light |  |  | EA | 140 | Stage 3 - Construction
142 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Pantry - (601 to 1000mm) | Pantry with shelving in melamine (maximum height of 2.4m). Note, width maybe limited by what your plan\kitchen design may accommodate. |  | EA | 1300 | Stage 3 - Construction
143 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Pantry - (up to 600mm) | Pantry with shelving in melamine (maximum height of 2.4m). Note, width maybe limited by what your plan\kitchen design may accommodate. |  | EA | 900 | Stage 3 - Construction
144 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Pantry, Corner/Diamond Shaped (601 to 1000mm) | Pantry with shelving in melamine (maximum height of 2.4m). Note, width maybe limited by what your plan\kitchen design may accommodate. |  | EA | 1700 | Stage 3 - Construction
145 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Polyurethane Cabinetry | All kitchen cabinetry Choice of single Dulux Colour |  | EA | 1700 | Stage 3 - Construction
146 | OPTIONAL UPGRADES | Misc |  | Prestige Kitchen Pack | 7 Premium Inclusions: 1) polyurethane Cabinetry 2) Finger Pull Cabinetry 3) 40 mm Stone Benchtop 4) Bulkheads 5) Ducted Rangehood 6) Dishwasher 7) Double Square Sink NOTE: Deletion of any item would not be credited Offers contained here cannot be used in conjunction with any other offer Rescon Builders reserve the right to revise plans, specifications and change or withdraw this offer without notice or obligation |  | EA | 4950 | Stage 3 - Construction
147 | PLANNING & APPROVALS | Preliminary Assesment |  | Private Certifier, Complying Development Certificate (CDC) | Review, Assesment & Approval of supplied drawings inc inspection fees. (excludes any council fees, s94 etc) |  | EA | 1750 | Stage 2 - Approval
148 | PLANNING & APPROVALS | Preliminary Assesment |  | Private Certifier, Construction Certificate (CC) | Review, Assesment & Approval of supplied drawings inc inspection fees. (excludes any council fees, s94 etc). Note: Any site specific reports required, listed in the council approval notes must be priced separately. |  | EA | 1750 | Stage 1 - Design
149 | COMMON UPGRADES | Building Modifications |  | Raise Ceiling to 2.7 Meter | Cost applies standard 60 Sq Meter GF ONLY - Excludes Garage\Outbuildings |  | EA | 2490 | Stage 3 - Construction
150 | COMMON UPGRADES | Building Modifications |  | Raise Ceiling to 2.7 Meter + Attached garage (single/double) OR Covered Alfresco over 12 Sq meter | Cost applies standard 60 Sq Meter GF + single/double garage (upto a max of 36 Sq Meter) OR Covered Alfresco Over 12 Sq meter |  | EA | 3490 | Stage 3 - Construction
151 | OPTIONAL UPGRADES | Roof Upgrades |  | Raked Ceiling - Living and Kitchen Area Only | Raked ceiling with colorbond roof only. Cost is applicable for onlyliving and kitchen area of Granny Flat. |  | EA | 4400 | Stage 3 - Construction
152 | OPTIONAL UPGRADES | Roof Upgrades |  | Raked Ceiling - Whole Granny Flat | Raked ceiling with colorbond roof only. Cost is applicable for only standard 60 Sq meter Granny Flat. There would be additional cost for any covered alfresco, if applicable |  | EA | 7700 | Stage 3 - Construction
153 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Rebate for Wardrobe | Rebate per wardrobe. |  | EA | -550 | Stage 3 - Construction
154 | WINDOWS | Remove Windows |  | Removing Standard sliding or double hung window from a standard plan | Rebate to remove any window from standard plan either by wish or due to circumstances like fire rated wall requirement |  | EA | -200 | Stage 3 - Construction
155 | OPTIONAL UPGRADES | Misc |  | Rental Ready Pack | 8 Premium Inclusions: 1) Choice of Solid External Door with Translucent glass feature panel 2) Vertical Blinds to all windows (except Bathroom\WC and\or Laundry) and sliding doors (if applicable) 3) Fly Screen Door to entry door 4) Actron Air-Conditioner (2.5 KW) 5) Digital TV Antenna 6) Post Mounted letter box 7) Post Mounted Clotheline 8) External grade tiles to landing for entry door NOTE: Deletion of any item would not be credited Offers contained here cannot be used in conjunction with any other offer Rescon Builders reserve the right to revise plans, specifications and change or withdraw this offer without notice or obligation |  | EA | 1 | Stage 3 - Construction
156 | OPTIONAL UPGRADES | Landscaping & Fencing |  | Retaining wall - blockwork - (up to) 1000mm high | Blockwork including Strip footing; excavation , 100mm diameter PVC slotted flexible coil pipe sub soil drain , bluemetal backfill - Excludes waterproofing. Includes Engineering design & certification. Minimum length 8m. (excludes steps) |  | L \ M | 1250 | Stage 3 - Construction
157 | OPTIONAL UPGRADES | Landscaping & Fencing |  | Retaining wall - blockwork - (up to) 500mm high | Blockwork including Strip footing; excavation , 100mm diameter PVC slotted flexible coil pipe sub soil drain, bluemetal backfill - Excludes waterproofing. Minimum length 8m. (excludes steps) |  | L \ M | 650 | Stage 3 - Construction
158 | OPTIONAL UPGRADES | Landscaping & Fencing |  | Retaining wall - pine sleepers - (up to) 1000mm high | H4 - treated pine - 150mm x 50mm; stacked and bolted - supported by sleeper posts at 1200mm or 900mm centres - Includes excavation and 100mm diameter PVC slotted flexible coil subsoil drainage pipe and crushed rock backfill - Excludes waterproofing , treatment on inground supports only - Sizes are the horizontal perlings. Includes Engineering design & certification. Minimum length 8m. (excludes steps) |  | L \ M | 950 | Stage 3 - Construction
159 | OPTIONAL UPGRADES | Landscaping & Fencing |  | Retaining wall - pine sleepers - (up to) 600mm high | H4 - treated pine - 150mm x 50mm; stacked and bolted - supported by sleeper posts at 1200mm or 900mm centres - Includes excavation and 100mm diameter PVC slotted flexible coil subsoil drainage pipe and crushed rock backfill - Excludes waterproofing , treatment on inground supports only - Sizes are the horizontal perlings. Minimum length 8m. (excludes steps) |  | L \ M | 490 | Stage 3 - Construction
160 | OPTIONAL UPGRADES | Roof Upgrades |  | Rotary Roof Vent (whirlybird or similar) | Rotary Roof Vent (300mm) |  | EA | 650 | Stage 3 - Construction
161 | COMMON UPGRADES | Sydney Water Peg-out |  | Screw Piers for Building over Pool | Up to 9x screw piers to a maximum depth of 75 KN Capacity and up to 2 meters deep. Assuming standard pool depth of 1.2 meters. |  | EA | 8800 | Stage 3 - Construction
162 | COMMON UPGRADES | Building Modifications |  | Separate Laundry | As per RESCON Builders standard plans & inclusions. NOTE* if customer supplied plans are used then all specific notations on plans contrary to RESCON Builders standard inclusions have been ignored and not factored into the tender price or scope of works. |  | EA | 1950 | Stage 3 - Construction
163 | COMMON UPGRADES | Building Modifications |  | Separate Laundry + Toilet | As per RESCON Builders standard plans & inclusions. NOTE* if customer supplied plans are used then all specific notations on plans contrary to RESCON Builders standard inclusions have been ignored and not factored into the tender price or scope of works. |  | EA | 3850 | Stage 3 - Construction
164 | COMMON UPGRADES | Building Modifications |  | Separate\Extra Powder\WC room | As per RESCON Builders standard plans & inclusions. NOTE* if customer supplied plans are used then all specific notations on plans contrary to RESCON Builders standard inclusions have been ignored and not factored into the tender price or scope of works. |  | EA | 1950 | Stage 3 - Construction
165 | PLUMBING | Plumbing - Variations |  | Sewer Encasement | Foundation redesign\approval, Level 2 Plumber to expose and encase. Prices will vary if we find asbestos in sewer mains\soil. (Maximum depth of mains 2.5m, maximum width of main, 150mm,) - (minimum encasement charge is for 8 lineal meters making it $7920) - ALLOW 14 additional days to time-frame. DOES NOT include cost of SYDNEY WATER PEGOUT |  | L \ M | 990 | Stage 3 - Construction
166 | OPTIONAL UPGRADES | Bathroom/Laundry |  | Shaving cabinet (up to 900mm width) | Shaving Cabinet with mirrored doors - size to match vanity (not recessed), for actual size, please refer to plans. Cost of mirror from standard inclusions has already been deducted |  | EA | 475 | Stage 3 - Construction
167 | OPTIONAL UPGRADES | Bathroom/Laundry |  | Shower Niche (420 x 420) | Square Niche - to be done in same tiles as bathroom tiles (must have floor to ceiling tiling) |  | EA | 980 | Stage 3 - Construction
168 | OPTIONAL UPGRADES | Bathroom/Laundry |  | Shower Niche (750 x 360) | Rectangular Niche - to be done in same tiles as bathroom tiles (must have floor to ceiling tiling) |  | EA | 1400 | Stage 3 - Construction
169 | GARAGE & CARPORTS | Carports & Pergolas |  | Single Carport | Based on standard size 5.5m x 3m, include concrete slab & drainage/downpipes. - ALLOW 14 additional days to time-frame. |  | EA | 14375 | Stage 3 - Construction
170 | GARAGE & CARPORTS | Garage |  | Single Garage (18sqm) - (in Brick or Render or Weatherboard) | up to 18sqm, In same cladding option as granny flat, (full framed, lined with cornices and painted finish, 2x Fluorescent Battons, 1x dbl power point, 1 Standard window (1.2 x 1.5 m), manual colorbond garage roller door, exposed concrete floor). Included under upto 6 under slab piers upto a depth of 600 mm each - excludes -Site Costs (slope). (Driveway NOT included) - ALLOW 14 additional days to time-frame. |  | EA | 24950 | Stage 3 - Construction
171 | GARAGE & CARPORTS | Garage |  | Single Garage (18sqm) - (in Vinyl Cladding) | up to 18sqm, In Vinyl cladding option as granny flat, (full framed, lined with cornices and painted finish, 2x Fluorescent Battons, 1x dbl power point, 1 Standard window (1.2 x 1.5 m), manual colorbond garage roller door, exposed concrete floor) - Included under upto 6 under slab piers upto a depth of 600 mm each. excludes -Site Costs (slope). (Driveway NOT included) - ALLOW 14 additional days to time-frame. |  | EA | 22950 | Stage 3 - Construction
172 | GARAGE & CARPORTS | Carports & Pergolas |  | Single\Double Carport (SQM Rate) | This is an additional sqm rate ontop of the base rates for single\double carport pricing. |  | SQM | 630 | Stage 3 - Construction
173 | GARAGE & CARPORTS | Garage |  | Single\Double Garage (SQM Rate) - (in Brick or Render or Weatherboard) | This is an additional sqm rate ontop of the base rates for single\double garage pricing. |  | SQM | 560 | Stage 3 - Construction
174 | GARAGE & CARPORTS | Garage |  | Single\Double Garage (SQM Rate) - (in Vinyl Cladding) | This is an additional sqm rate ontop of the base rates for single\double garage pricing. |  | SQM | 505 | Stage 3 - Construction
175 | RAISED PIERS | Raised Steel Piers |  | Site Cost (on raised piers): 1 - 1.5 m Slope | 60 Sq Meter GF ONLY (EXCLUDES Garage\Outbuildings). INCLUDES additional material & structural requirements. EXCLUDES cost of scaffolding - ALLOW 14 additional days to time-frame. |  | EA | 5790 | Stage 3 - Construction
176 | RAISED PIERS | Raised Steel Piers |  | Site Cost (on raised piers): 1.5 - 3 m Slope | 60 Sq Meter GF ONLY (EXCLUDES Garage\Outbuildings). INCLUDES additional material & structural requirements. EXCLUDES cost of scaffolding - ALLOW 14 additional days to time-frame. |  | EA | 6950 | Stage 3 - Construction
177 | RAISED PIERS | Raised Steel Piers |  | Site Cost (on raised piers): 400mm - 1 m Slope | 60 Sq Meter GF ONLY (EXCLUDES Garage\Outbuildings). INCLUDES additional material & structural requirements. EXCLUDES cost of scaffolding - ALLOW 14 additional days to time-frame. |  | EA | 3950 | Stage 3 - Construction
178 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 300 - 500 mm Slope (60sqm GF) | Slope Cost applies standard 60 Sq Meter GF ONLY - Excludes Garage\Outbuildings\Covered Alfresco (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional ladding material to ensure a level concrete slab. Rock affected sites incur an additional cost to be priced seperately. - ALLOW 7 additional days to time-frame. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 2450 | Stage 3 - Construction
179 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 300 - 500 mm Slope (single\up to 18sqm garage) | Slope Cost - Excludes Granny Flat\Covered Alfresco Areas (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional cladding material to ensure a level concrete slab. Rock affected sites incur an additional cost to be priced seperately. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 550 | Stage 3 - Construction
180 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 300 - 500 mm Slope (single\up to 36sqm garage) | Slope Cost - Excludes Granny Flat\Covered Alfresco Areas (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional cladding material to ensure a level concrete slab. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 990 | Stage 3 - Construction
181 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 500 - 700 mm Slope (60sqm GF) | Slope Cost applies standard 60 Sq Meter GF ONLY - Excludes Garage\Outbuildings\Covered Alfresco (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional cladding material to ensure a level concrete slab. Rock affected sites incur an additional cost to be priced seperately.- ALLOW 7 additional days to time-frame. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 3550 | Stage 3 - Construction
182 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 500 - 700 mm Slope (single\up to 18sqm garage) | Slope Cost - Excludes Granny Flat\Covered Alfresco Areas (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional cladding material to ensure a level concrete slab. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 950 | Stage 3 - Construction
183 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 500 - 700 mm Slope (single\up to 36sqm garage) | Slope Cost - Excludes Granny Flat\Covered Alfresco Areas (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional cladding material to ensure a level concrete slab. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 1890 | Stage 3 - Construction
184 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 700 - 900 mm Slope (60sqm GF) | Slope Cost applies standard 60 Sq Meter GF ONLY - Excludes Garage\Outbuildings\Covered Alfresco (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional cladding material to ensure a level concrete slab. Rock affected sites incur an additional cost to be priced seperately.- ALLOW 14 additional days to time-frame. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 4790 | Stage 3 - Construction
185 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 700 - 900 mm Slope (single\up to 18sqm garage) | Slope Cost - Excludes Granny Flat\Covered Alfresco Areas (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional cladding material to ensure a level concrete slab. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 1490 | Stage 3 - Construction
186 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 700 - 900 mm Slope (single\up to 36sqm garage) | Slope Cost - Excludes Granny Flat\Covered Alfresco Areas (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional cladding material to ensure a level concrete slab. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 2790 | Stage 3 - Construction
187 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 900 - 1100 mm Slope (60sqm GF) | Slope Cost applies standard 60 Sq Meter GF ONLY - Excludes Garage\Outbuildings\Covered Alfresco (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional cladding material to ensure a level concrete slab. Rock affected sites incur an additional cost to be priced seperately.- ALLOW 14 additional days to time-frame. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 6390 | Stage 3 - Construction
188 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 900 - 1100 mm Slope (single\up to 18sqm garage) | Slope Cost - Excludes Granny Flat\Covered Alfresco Areas (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional cladding material to ensure a level concrete slab. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 1950 | Stage 3 - Construction
189 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - 900 - 1100 mm Slope (single\up to 36sqm garage) | Slope Cost - Excludes Granny Flat\Covered Alfresco Areas (priced separately). This cost takes into account the slope over the slab and allows for additional foundation work, footings, concrete, bulk earthworks and additional cladding material to ensure a level concrete slab. EXCLUDES: Excavating Rock\Retaining Walls |  | Per Corner | 3790 | Stage 3 - Construction
190 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) - Rock Affected Site | This cost allows for manual\mechanical excavation into rock (jackhammering up to 200-300mm). Trenching to a maximum of 30 l\m. Modified slab\raised pier design. (This cost is subject to a Geotechnical Survey & Ident\Contour Survey). (Excludes geotechnical survey\contour survey) |  | EA | 9800 | Stage 3 - Construction
191 | SITE SLOPE & CONCRETE | [SOIL SURFACES] - Slope\ Excavation \ Slab on Ground |  | Site Cost (Slab on ground) 0 - 300 mm Slope | Slope Cost applies standard 60 Sq Meter GF ONLY - Excludes Garage\Outbuildings\Covered Alfresco (priced separately). Rock affected sites incur an additional cost to be priced seperately. EXCLUDES: Excavating Rock\Retaining Walls |  | EA | 0 | Stage 3 - Construction
192 | PRELIMINARIES | Site Specific Fees |  | Site Setup | OHS Required - Temporary Fencing Erection\Hire, Sediment Control Fence (if required), Temporary Toilet Hire inc Fortnightly Clean - for the duration of the build. |  | EA | 2500 | Stage 3 - Construction
193 | OPTIONAL UPGRADES | Roof Upgrades |  | Skylight | Skylight (572x775); includes - flashing, sqaure setting and supporting framing works. |  | EA | 2890 | Stage 3 - Construction
194 | OPTIONAL UPGRADES | Roof Upgrades |  | Skytube | Sun Tunnel (400mm round); includes - flashing. |  | EA | 980 | Stage 3 - Construction
195 | OPTIONAL UPGRADES | Sliding Security Door |  | Sliding - Security Door | Diamond grille; including - Heavy duty aluminium frame, flyscreen. Color to best match window frames. Color differences may result. (Not applicable for stacker\bifold or 3+ panel sliding doors) |  | EA | 1250 | Stage 3 - Construction
196 | WINDOWS | Additional Windows |  | Sliding Door - 2.1 m x 1.5 m (2 Panels) OR 2.1 m x 1.8 m (2 Panels) | Standard Aluminium & Single Clear Glass (up to 4mm) - Includes the cost of extra lintels/flyscreens/blinds, architraves, additional labor and landings\tiles (for slidings doors) - Subject to BASIX requirement which may result in additional costs.(Blinds would be supplied and installed, only if included in tender as an optional upgrade or as a part of Rental Ready pack) |  | EA | 2490 | Stage 3 - Construction
197 | WINDOWS | Additional Windows |  | Sliding Door - 2.1 m x 1.5 m (2 Panels) OR 2.1 m x 1.8 m (2 Panels) - Excluding Landing | Standard Aluminium & Single Clear Glass (up to 4mm) - Includes the cost of extra lintels/flyscreens/blinds, architraves and additional labor (In case landing cost has been priced in while adding cost of alfresco/patio) - Subject to BASIX requirement which may result in additional costs.(Blinds would be supplied and installed, only if included in tender as an optional upgrade or as a part of Rental Ready pack) |  | EA | 2240 | Stage 3 - Construction
198 | WINDOWS | Additional Windows |  | Sliding Door - 2.1 m x 2.7 m (3 Panels) | Standard Aluminium & Single Clear Glass with only 1 moving panel (up to 4 mm) - Includes the cost of extra lintels/flyscreens/blinds, architraves, additional labor and landings\tiles - Subject to BASIX requirement which may result in additional costs.(Blinds would be supplied and installed, only if included in tender as an optional upgrade or as a part of Rental Ready pack) |  | EA | 4790 | Stage 3 - Construction
199 | WINDOWS | Additional Windows |  | Sliding Door - 2.1 m x 2.7 m (3 Panels) - Excluding Landing | Standard Aluminium & Single Clear Glass with only 1 moving panel (up to 4mm) - Includes the cost of extra lintels/flyscreens/blinds, architraves and additional labor (In case landing cost has been priced in while adding cost of alfresco/patio) - Subject to BASIX requirement which may result in additional costs.(Blinds would be supplied and installed, only if included in tender as an optional upgrade or as a part of Rental Ready pack) |  | EA | 3990 | Stage 3 - Construction
200 | WINDOWS | Additional Windows |  | Sliding Stacker Door - 2.1 m x 2.7 m (3 Panels) | Standard Aluminium & Single Clear Glass with 2 moving panels (up to 4 mm) - Includes the cost of extra lintels/flyscreens/blinds, architraves, additional labor and landings\tiles - Subject to BASIX requirement which may result in additional costs.(Blinds would be supplied and installed, only if included in tender as an optional upgrade or as a part of Rental Ready pack) |  | EA | 4990 | Stage 3 - Construction
201 | WINDOWS | Additional Windows |  | Sliding Stacker Door - 2.1 m x 2.7 m (3 Panels) - Excluding Landing | Standard Aluminium & Single Clear Glass with 2 moving panels (up to 4 mm) - Includes the cost of extra lintels/flyscreens/blinds, architraves and additional labor (In case landing cost has been priced in while adding cost of alfresco/patio) - Subject to BASIX requirement which may result in additional costs.(Blinds would be supplied and installed, only if included in tender as an optional upgrade or as a part of Rental Ready pack) |  | EA | 4290 | Stage 3 - Construction
202 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Soft Close Cabinet Doors | Soft-close kitchen cabinetry doors |  | EA | 220 | Stage 3 - Construction
203 | PLANNING & APPROVALS | Preliminary Assesment |  | Soil Classification Survey | Geotech Survey for soil classification. This is to be submitted to engineer for structural design |  | EA | 850 | Stage 2 - Approval
204 | OPTIONAL UPGRADES | Electrical |  | Solar Hot Water System | Solar hot water system with gas/ electric booster (depending upon the type of services selected as a part of contract). Included: Multi-temperature sensor vitreous enamel tank, High performance black chrome selective surface collectors, split system design with tank on the ground. This price already includes deduction for the actual hot water system |  | EA | 3300 | Stage 3 - Construction
205 | WINDOWS | Additional Doors |  | Standard 820 Solid Core External Timber Door | Standard Timber Door of builders range- Includes the cost of extra lintels/flyscreens, architraves and Tiled landing |  | EA | 2200 | Stage 3 - Construction
206 | WINDOWS | Additional Doors |  | Standard 820 Solid Core External Timber Door - Excluding Landing | Standard Timber Door of builders range- Includes the cost of extra lintels/flyscreens, architraves (EXCLUDES CONCRETE LANDING) |  | EA | 1950 | Stage 3 - Construction
207 | WINDOWS | Replace Windows |  | Standard Double Hung windows Rebate to replace with Custom size window or sliding door | Replacing Double Hung window with another sliding door, timber door or a custom size window |  | EA | -930 | Stage 3 - Construction
208 | WINDOWS | Additional Windows |  | Standard window - Double Hung | Standard Aluminium & Single Clear Glass (up to 4mm) - Includes the cost of extra lintels/flyscreens/blinds, architraves - Subject to BASIX requirement which may result in additional costs. (Blinds would be supplied and installed, only if included in tender as an optional upgrade or as a part of Rental Ready pack) |  | EA | 930 | Stage 3 - Construction
209 | WINDOWS | Additional Windows |  | Standard window - Sliding | Standard Aluminium & Single Clear Glass (up to 4mm) - Includes the cost of extra lintels/flyscreens/blinds, architraves - Subject to BASIX requirement which may result in additional costs. (Blinds would be supplied and installed, only if included in tender as an optional upgrade or as a part of Rental Ready pack) |  | EA | 800 | Stage 3 - Construction
210 | COMMON UPGRADES | Building Modifications |  | Steel Frame Walls and Roof Structure | Bluescope Steel - Made in Australia BMT - 0.75 for all wall and roof frames (applicable for 2.4 and 2.7 high ceiling) |  | EA | 4950 | Stage 3 - Construction
211 | PLUMBING | Plumbing - Variations |  | Stormwater Solution (new kerb outlet or absorbption pit) | Plumber\Engineer may elect new kerb\gutter outlet (Max 35m allowed for, $120/m variation thereafter) or absorption pit (3m x 1.2m underground pit) - subject to specific site requirements. (excludes any road opening\council fees or permits). |  | EA | 4200 | Stage 3 - Construction
212 | PLANNING & APPROVALS | Preliminary Assesment |  | Structural Engineering Drawings (inc Certificate, Inspection Fees) | Structural Engineering Drawings required for approval \ construction. Including slab design. |  | EA | 495 | Stage 2 - Approval
213 | DEMOLITION | Site Clearing |  | Stump Grinding | Upto 300 mm diameter. Doesnâ¬"t include removal of roots |  | EA | 650 | Stage 3 - Construction
214 | COMMON UPGRADES | Sydney Water Peg-out |  | Sydney Water Peg-out Charges | In the event the TAP-IN summary\report indicates that the SEWER maybe affected then this charge is required in order for Sydney Water to carry out its on-site investigation to determine the correct course of action, also includes Building Plans assessment Approval Charges. (Manhole Access (upstream\downstream) is required - ALLOW 7 additional days to time-frame. DOES NOT include the cost of exposing the pipe/manhole if not accessible |  | EA | 1800 | Stage 3 - Construction
215 | PLANNING & APPROVALS | Preliminary Assesment |  | Tap-in Report (Sydney Water Sewer\Services Report) |  |  | EA | 20 | Stage 1 - Design
216 | ROOF | Roofing |  | Terracotta Roof | Minimum 20% pitch, meaning a higher roof which may not meet 3.8m max height planning requirement. Roofing Cost applies standard 60 Sq Meter GF ONLY - Excludes Garage\Outbuildings |  | EA | 2340 | Stage 3 - Construction
217 | OPTIONAL UPGRADES | Landscaping & Fencing |  | Timber Fence\Fencing | 1.8m high Timber fencing. Minimum length 8m. |  | L \ M | 165 | Stage 3 - Construction
218 | PLANNING & APPROVALS | Preliminary Assesment |  | Town Planner Assessment | Initial Assessment by a qualified town planner to review the available documents and provide professional feasibility report of the proposal. Special Note: This is not final DA approval |  | EA | 650 | Stage 1 - Design
219 | COMMON UPGRADES | Building Modifications |  | Uncovered Concrete Landing \ Patio | This includes concrete slab reinforced as per engineer's specification as designed in the plans |  | sqm | 330 | Stage 3 - Construction
220 | COMMON UPGRADES | Building Modifications |  | Uncovered Tiled Landing \ Patio | This includes external grade tiles (300 x 300 mm) over concrete slab reinforced as per engineer's specification as designed in the plans |  | sqm | 550 | Stage 3 - Construction
221 | WINDOWS | Additional Windows |  | Upgrade - all Internal doors to 820 mm | Upgraded all internal hollow core doors including cavity sliders (if applicable) to a width of 820 mm, including basic variations to width. |  | EA | 500 | Stage 3 - Construction
222 | GARAGE & CARPORTS | Automatic Garage Door |  | Upgrade - Automatic Garage Door | Automatic Garage Door - with 2x remote (this cost is for a single \ separate garage panel) |  | EA | 1180 | Stage 3 - Construction
223 | OPTIONAL UPGRADES | Bathroom/Laundry |  | Upgrade - Ceiling Height Wall tile (for separate laundry) | Ceiling Height tiling for separate laundry. Choice available from Rescon standard options, should match with the main bathroom selections of tiles |  | EA | 990 | Stage 3 - Construction
224 | COMMON UPGRADES | Building Modifications |  | Upgrade - Designer Range Inclusions | Upgrade Smart range inclusions to Designer Range |  | EA | 3000 | Stage 3 - Construction
225 | OPTIONAL UPGRADES | Flooring |  | Upgrade - Engineered Hardwood Flooring - Throughout | Engineered Hardwood with pre-finished 3mm wear layer & foam underlay |  | EA | 6600 | Stage 3 - Construction
226 | WINDOWS | Additional Doors |  | Upgrade - External Door to 920 mm | Standard Timber Door of builders range- Includes the cost of extra lintels/flyscreens, architraves and Tiled landing |  | EA | 550 | Stage 3 - Construction
227 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Upgrade - Mirrored Wardrobes | Mirrored Wardrobe Door (includes x2 door panels). This cost is for each room, assuming 2 door panels. |  | EA | 190 | Stage 3 - Construction
228 | OPTIONAL UPGRADES | Electrical |  | Upgrade - Registered Electrical Meter | Upgrade power to granny flat with single phase registered electrical meter. Excludes, any upgrade to existing meterbox |  | EA | 1100 | Stage 3 - Construction
229 | OPTIONAL UPGRADES | Bathroom/Laundry |  | Upgrade - Shower Screens (to fully frameless) |  |  | EA | 1500 | Stage 3 - Construction
230 | OPTIONAL UPGRADES | Bathroom/Laundry |  | Upgrade - Shower Screens (to semi-framed) |  |  | EA | 550 | Stage 3 - Construction
231 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Upgrade - Stone Benchtop | 20 mm Stone Benchtop |  | EA | 1800 | Stage 3 - Construction
232 | OPTIONAL UPGRADES | Flooring |  | Upgrade - Tile Floor - Living\Kitchen Floor (600 x 600 mm) |  |  | EA | 2700 | Stage 3 - Construction
233 | OPTIONAL UPGRADES | Bathroom/Laundry |  | Upgrade - Wall tile (floor to ceiling\bathroom) | Excludes separate laundry area and ensuite. This is applicable for main bathroom only. |  | EA | 2500 | Stage 3 - Construction
234 | OPTIONAL UPGRADES | Flooring |  | Upgrade Flooring - Bamboo Throughout | Engineered Bamboo floor |  | EA | 2800 | Stage 3 - Construction
235 | OPTIONAL UPGRADES | Flooring |  | Upgrade Flooring - Carpets to Bedrooms | Loop Pile carpet with Foam underlay Applicable for 2 bedrooms granny flat Only |  | EA | 980 | Stage 3 - Construction
236 | OPTIONAL UPGRADES | Electrical |  | Upgrade LED lights to dimmable (per switch) |  |  | EA | 250 | Stage 3 - Construction
237 | OPTIONAL UPGRADES | Flooring |  | Upgrade Tiling - Living\Kitchen Floor (450 x 450 mm) | Excludes bedrooms, SLAB on ground price only (additional cost for RAISED piers). 450 mm x 450 mm floor tiles with choice of colors available |  | EA | 1200 | Stage 3 - Construction
238 | OPTIONAL UPGRADES | Flooring |  | Upgrade Tiling - Throughout (450 x 450 mm) | SLAB on ground price only (additional cost for RAISED piers). 450 mm x 450 mm ceramic floor tiles with choice of colors available |  | EA | 1500 | Stage 3 - Construction
239 | OPTIONAL UPGRADES | Flooring |  | Upgrade Tiling - Throughout (600 x 600 mm) | SLAB on ground price only (additional cost for RAISED piers). 600 mm x 600 mm Porcelaine floor tiles with choice of colors available |  | EA | 3300 | Stage 3 - Construction
240 | OPTIONAL UPGRADES | Flooring |  | Upgrade Tiling - Throughout (Raised Piers 450 x 450 mm) | 450 mm x 450 mm ceramic floor tiles with choice of colors available. Raised piers only - ALLOW 7 additional days to time-frame. |  | EA | 6600 | Stage 3 - Construction
241 | OPTIONAL UPGRADES | Flooring |  | Upgrade Tiling - Throughout (Timber Look) | SLAB on ground price only (additional cost for RAISED piers). 900 mm x 150 mm ceramic floor tiles with choice of colors available |  | EA | 6600 | Stage 3 - Construction
242 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Upgrade Westinghouse Applicances | Upgrade your cooktop, oven and rangehood to westinghouse |  | EA | 480 | Stage 3 - Construction
243 | OPTIONAL UPGRADES | Flooring |  | Vinyl Floor | Vinyl Plank Flooring |  | EA | 3500 | Stage 3 - Construction
244 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Walk-in Wardrobe | This is cost for per walk-in wardrobe, assuming length max 1.8 meters and width max 1.5 meters. Inclusions: Top Shelf and hanging rail Excludes: Any shelf and/or drawers |  | EA | 880 | Stage 3 - Construction
245 | OPTIONAL UPGRADES | Kitchen & Joinery |  | Waterfall Edge | 20mm Waterfall Edge (per edge). Assumes RESCON Builders standard kitchen sizes. |  | EA | 980 | Stage 3 - Construction
246 | OPTIONAL UPGRADES | Bathroom/Laundry |  | Wider Vanity (upto 900 mm width) | Wider Vanity (upto 900 mm), for actual size, please refer to plans |  | EA | 550 | Stage 3 - Construction
247 | WINDOWS | Replace Windows |  | Windows Rebate to replace with Custom size window or sliding door | Replacing windows with another sliding door, timber door or a custom size window |  | EA | -800 | Stage 3 - Construction
248 | PLANNING & APPROVALS | Preliminary Assesment |  | Wyong Council - Fees for Water and sewer Preliminary Approval only | This fee is only for Water and sewer charges to get 306 certificate. This fee is subject to change because of any amendments in councils rules and regulations (Due to amalgamation). If advised by council, there might be other charges related to sewer pegout. This cost DOES NOT cover any charges for sewer encasement, deeper piers or relining of sewer mains |  | EA | 250 | Stage 1 - Design